1.0	Purpose

To outline the general components of a Quality Control Laboratory.

2.0	Scope

This SOP applies to the Quality Control Department.

3.0	Responsibility

3.1	All QC personnel shall be trained and understand this SOP.

3.2	The Quality Control Manager shall review and approve all specifications and analytical methods used in laboratory.

4.0	Procedure

4.1	Quality Control Laboratory

The company quality control laboratory operates independently of production management.

4.2	Laboratory Staff

The staff, at present, is composed of a Quality Control Manager who is in charge of laboratory affairs and Quality Control Chemists who are familiar with the analytical procedures described in the National Pharmacopoea, USP, JP, NF, BP, EP, CP and in-house methodology.  If, outside testing laboratories are utilized, and they shall in full compliance with all the stipulated requirements for such laboratories.

4.3	Testing Capability

The testing capability of the laboratories includes most of the compendial requirements.  Manufacturers’ protocols are also used to supply testing procedures and specifications.

4.4	Methods for Testing and Specifications

4.4.1	Methods and specifications are retained by the Quality Control Manager.

4.4.2	The methods and specifications are written by a qualified individual, reviewed and approved by the Quality Control Manager both of whom sign the form.  Any changes or updating of methods, specifications, written standards and tests, shall be recorded and justified.  The product number and/or name, author, approval date and/or revision date appears on the heading of each method and the appropriate specification sheet.

4.4.3	Raw materials are sampled according to the procedure given in the respective WI’s.  The testing is in accordance with “In House” and/or USP or NF methodology as required.  Some tests are according to manufacturer protocol and /or outside laboratories.

4.4.4	There are written specifications for the acceptance of each kind of components, drug product containers and closures.

4.4.5	There are procedures for the sampling and testing of in-process materials to determine conformance with specifications.

4.4.6	There are written specifications and methods for testing finished drug products to determine conformance with established specifications.