Objectives :

- The following format outlines the requirements for a Performance Qualification for equipment and equipment systems.

- This form provides the information necessary to write an SOP titled “How to Perform a Performance Qualification”.

FORMAT FOR A PERFORMANCE QUALIFICATION PROTOCOL

Name of Facility:____________________________ 	page ___ of ___

Validation Protocol # _________

Performance Qualification Title _________________________

Protocol written by _________________________________________________________

Departmental Approval by _____________________________ Date ________________

QA Approval by _____________________________________  Date ________________

Objective

- To determine that the systems/equipment perform as intended by repeatedly running the system on its intended schedules and recording all relevant information and data.

- Results must demonstrate that performance consistently meets pre-determined specifications under normal conditions, and where appropriate for worst case situations.

Scope

- To be performed after the Installation and Operational Qualification have been completed and approved.

- To be performed after installation, modification or relocation and for re-validation at appropriate intervals.

- Each piece of equipment must be validated before it serves another piece of equipment/system during validation of the latter (e.g. water system before steam generator; steam generator before autoclave).

Responsibility

- Person responsible for operating the system or equipment will perform the qualification and record the information.

- The supervisor will supervise the study, verify the completion of the records and write the Deviation Report and the Performance Qualification Report.

- Quality Assurance will review and approve the Performance Qualification Protocol and Report.

Materials, Equipment, Documents

SOPs for normal operations of the equipment or system under test (including data record forms,

charts, diagrams materials and equipment needed). Attach copies.

SOP list:

________________________________________________________________________________

________________________________________________________________________________

SOPs specific for performance tests (including data record forms, charts, diagrams, materials and

equipment needed, calculations and statistical analyses to be performed, and pre-determined specifications and acceptance criteria). Attach copies.

SOP list:

________________________________________________________________________________

________________________________________________________________________________

# Procedure

- Equipment: Run normal procedure three times for each use (configuration or load) and record all

- required data and any deviations to the procedure.

- Systems: Run for 20 consecutive working days, recording all required data and any deviations to the procedure.

- Prepare the Summary Data Record Form (Chart 1)

Validation Protocol ____________ Performance Qualification page ___ of ___

Title ________________________Name of Facility_________________________

Evaluation

- Attach all completed, signed data record forms.

- Complete the Summary Data Record Form (Chart 1)

- Perform all required calculations and statistical analyses (Chart 2).

- Compare to acceptance criteria (Chart 3).

- Prepare Deviation Report including the justification of acceptance and impact on the performance.

- Prepare a Performance Qualification Report: This should include: date study initiated; date completed; observations made; problems encountered; completeness of information collected; summary of deviation report; results of any tests; do results meet acceptance criteria; location of original data; other information relevant to the study; and conclusions on the validity of the equipment/system.

- Submit Performance Qualification Document to QA for review and approval.

Chart 1: Summary Data Record (To be prepared for the specific procedure on test)

______________________________________________________________________

______________________________________________________________________

______________________________________________________________________

Performed by	: _________________________________ Date ___________

Verified by     	: _________________________________ Date ___________

Chart 2: Calculations and Statistical Analyses

______________________________________________________________________

______________________________________________________________________

______________________________________________________________________

Performed by	: _________________________________Date ___________

Verified by	: _________________________________Date ___________

Chart 3: Acceptance Criteria vs. Performance Test Results

Criteria Results                                                                                      Pass/Fail

___________________________________________________________ ___________

___________________________________________________________ ___________

___________________________________________________________ ___________

___________________________________________________________ ___________

Performed by	: _________________________________Date ___________

Verified by	: _________________________________Date ___________

Deviation Report

- Deviation(s):

- Justification for acceptance:

- Impact on operation, function or process:

______________________________________________________________________

______________________________________________________________________

______________________________________________________________________

Performed by	: _________________________________Date ___________

Verified by	: _________________________________Date ___________

Validation Protocol ____________ Performance Qualification page ___ of ___

Title ________________________Name of Facility _________________________

Performance Qualification Report

- Results:

- Conclusions:

__________________________________________________________________

__________________________________________________________________

__________________________________________________________________

__________________________________________________________________

__________________________________________________________________

Written by	: ________________________________________Date ___________

Verified by	: _______________________________________  Date ___________