## Slide 1: ELECTRONIC DOCUMENTATION

## Slide 2
General Provisions
Electronic Records
Electronic Signatures
Electronic Copy
Content of Presentation

## Slide 3
GENERAL PROVISIONS

## Slide 4
ERES means :
Electronic Records; Electronic Signatures
Some basics of electronic records; electronic signatures
  effective August 20, 1997
  geared towards assuring data integrity of computerized systems used to meet predicate rule requirements
  enforcement is a “relatively recent” (since Y2K) phenomenon
E.R.E.S.

## Slide 5
QA/QC
Laboratory Information Management Systems (LIMS)
SOP Systems
GXP Training Tracking Systems
Document Management Systems (DMS)
GMP
Manufacturing Execution Systems (MES)
Maintenance Management Systems (MMS)
Calibration Management Systems (CMS)
Building Management Systems (BMS)
Enterprise Resource Planning (ERP)
Distributed Control Systems (DCS)
SCADA Systems
PLC Systems
EOL/AutoCAD Systems
GCP
Case Report Form Systems
Clinical Data Management Systems
Statistical Analysis Software (e.g., SAS)
Adverse Event Reporting Systems (AERS)
Remote Data Entry/Remote Data Capture (RDE/RDC)
ERES Application
Copyright © 2001 SEC Associates, Inc.
Stability Systems
DM&PK Systems
Toxicology Systems
Laboratory Robotics Systems
Environmental Monitoring Systems (EMS)
Chromatography Data Acquisition Systems
Laboratory Information Management Systems (LIMS)
GLP

## Slide 6
Electronic record
any combination of text, graphics, data, audio, pictorial, or other information…in digital form that is “created, modified, maintained, archived, retrieved or distributed by computer system”
Electronic signature
A computer rendition (biometrics, non-biometrics, digital) of some unique ‘mark’ that an individual executes, adopts and authorizes that is considered to be a legally binding equivalent of a handwritten signature
Definition in ERES
Notes: Digital signature should be seen at the rule for definition of digital signature

## Slide 7
Open system
an environment in which system access is not controlled by persons responsible for the content of the electronic records on the system
Closed system
an environment in which system access is controlled by persons who are responsible for the content of electronic records that are on the system
Definition in ERES

## Slide 8
Volatile (transient) versus nonvolatile data
volatile data, though electronically gathered, is not memorialized on electronic media for future retrieval. Nonvolatile data is that which is electronically gathered and stored on durable media, even for short periods of time.
Predicate rule
pre-existing FDA regulations that define what records the FDA expects an organization to prepare, retain and submit. If these records are electronic, 21 CFR Part 11 regulations apply to them
Handwritten signature
the scripted name or legal mark of an individual handwritten by such and executed or adopted with the present intention to authenticate a writing in a permanent form
Definition in ERES

## Slide 9
ELECTRONIC RECORD

## Slide 10
All electronic records should :
be validated
pass audit trials
have a security system
have a retention period
if copy of electronic records is needed, should be readable
have written policy, including defining person in charge who responsible with this program
have operational system and devise checks
Training
there shall be assurance that persons who develop, maintain or use ERES systems are properly trained (utilize vendor audit program and in-house training programs for evidence)
System access is limited to authorized
Electronic Records
Notes: Validation of electronic records must ensure :
  accuracy
  reliability
  consistent intended performance
  ability to discern invalid or altered records (audit trails)
  look for classic CSV practices such as validation plans and user and functional requirements that call out Part 11 technicalities, protocols that test the requirements, documented final reports and trace matrices to match it all up
Audit Trials
  independently recorded
  computer generated
  date and time stamped
  all changes
  does not obscure previous data
  retain for full retention period
  available for inspection and copying
Security
System access is limited to authorized individuals; authority checks must be conducted to grant access and/or sign an e-record
Retention
must be available throughout the records retention period (governed by predicate rule)
Copies
must be available in both human-readable and electronic form
Written Policies
defining individual accountability and responsibility for actions initiated under individual’s e-signatures and e-identity
Operational System Checks
forced sequencing of steps, like a workflow or EBR
Device Checks
to determine validity of source data

## Slide 11
An e-signature must contain
  printed name of signer
  date and time when signing executed
  meaning associated with signature
  must be readily human-readable
  subject to all the previous e-record controls
  e-signature must be unbreakably linked to associated electronic record such that it cannot be copied, excised or otherwise utilized to falsify a record
Open versus closed systems
  both subject to the same previous e-records requirements
  open systems must apply additional controls to assure data integrity such as encryption and digital signatures
Electronic Record

## Slide 12
ELECTRONIC SIGNATURE

## Slide 13
must be unique to one individual
individual’s identity must be verified prior to granting of signature authority
prior to or at time of use, organization must certify that e-signatures are the legally binding
non-biometric signatures must be comprised of at least two distinct components
password aging
loss management of tokens must perform properly
Validity Electronic Signature
Notes: must be unique to one individual and not reused or reassigned to anyone else
individual’s identity must be verified prior to granting of signature authority
prior to or at time of use, organization must certify to the Agency that e-signatures are the legally binding equivalent of handwritten signatures
non-biometric signatures must be comprised of at least two distinct components
password aging
loss management of tokens or other identity-bearing devices, including a program for replacements and a testing program to determine that devices perform properly

## Slide 14
must be used only by their genuine owners
must be managed to ensure that use of one person’s e-sign by another requires collaboration
combination of ID and password constitutes uniqueness that must be maintained
continuous signing events allow the use of only one component during the signing period
Should has intrusion detection security alert system to avoid the usage of e-sign by unauthorized person
Should be able to authenticate electronic signature in correspondence to the e-sign was created
Electronic Signature Usage
Notes: The usage of electronic signature :
must be used only by their genuine owners
must be managed to ensure that use of one person’s e-sign by another requires collaboration (fraudulent behavior)
combination of ID and password constitutes uniqueness that must be maintained
continuous signing events allow the use of only one component during the signing period (session must be opened with full signature) otherwise all signing events are considered discrete and all e-sign elements must be used
intrusion detection to include the use of transaction safeguards (3 strikes), detecting and reporting “in an immediate and urgent manner” attempts to sign a record or use a system without having proper access and report these attempts to system security and/or organizational management
Should be able to authenticate electronic signatures in correspondence to the way the e-sign was created
  for password/ID combinations, provide documentation that establishes the authenticity of the e-sign and its link to the signed e-record
  for biometrics, provide documentation that establishes the authenticity of the e-sign and its link to the signed e-record
  for handwritten signatures, hand over signed paper and e-record it was created from - establish link between two

## Slide 15
ELECTRONIC COPY

## Slide 16
have to be accurate and complete but not necessarily in the same format at they were created
validate the copying process
any hyperlinked reference is considered part of the copy
If needed, provide e-copies to the RNA in read-only format where possible
All e-copy must be processable
Electronic Copy
Notes: Electronic copies
e-copies of the database queries used to retrieve the copy information should be included with the e-record
e-copies should carry some form of authentication to support integrity as the e-records are delivered to the Agency (hash value which would change if file was tampered with)
General issue of electronic copy :
accurate and complete means including audit trails, metadata and e-signatures
validate the copying process include considerations of file format, media, built-in error-checking capabilities
provide e-copies to the RNA in read-only format where possible
must still be processable

## Slide 17
Reference
Nichols K.M., ERES and Regulatory Overview, Genzyme Corporation, MBC Meeting, 21 November 2002.
ERES - 21 CFR Part 11, August 1997.

## Slide 18
Thank You